## Slide 1
ANTHC
DIVISION OF ENVIRONMENTAL
HEALTH & ENGINEERING
Don Antrobus, P.E. Design Director
Evolution of Central Facilities
The Washeteria
Annual Water and Sanitation Renovations for the Arctic
January 2014

## Slide 2: Birth of the Washeteria
Where was first washeteria constructed?
Who built it?

## Slide 3: Birth of the Washeteria
EPA: Alaska Village Demonstration Project 1970
  Wainwright 1972
  Emmonak 1976
Alaska Village Safe Water Act of 1970
  Central Facilities for 11 Communities
    Northway and Chevak in 1972
    Other 9 by 1979

## Slide 4: Wainwright Floor Plan II

## Slide 5: Emmonak Floor Plan

## Slide 6: Beaver Floor Plan

## Slide 7: AVDP Project Reporting
Washeteria concept acceptable.
O&M will be a challenge.
Cost: Too expensive with only user fees.
“With rare exception, Alaska native villages cannot pay, through service charges, the full cost of routine operation and maintenance of water –related utilities, especially where complex treatment is required to meet technology-based or receiving water quality standards.” (Alaska Village Demonstration Project: Final Report)
Standards: No Single best method. Too many variations to establish workable number of standards.

## Slide 8: Standardization in 2013
From Statewide Perspective: Little or none.
Some Regional Standardization.
Commonalities:
  Toilets, Sinks, Showers
  Washing Machines, Dryers

## Slide 9: Plumbing Philosophy and Floor Plan
All Plumbing within Envelope
  Easy to access and maintain
  Better Protected from Freezing
  More restrictive floor plan
  Challenging configurations
Plumbing within Subfloor
  Less Restrictive Layout
  Difficult Access for maintenance/repair
  Additional heating systems.

## Slide 10: Plumbing Philosophy and Floor Plan

## Slide 11: Plumbing Philosophy and Floor Plan

## Slide 12: Plumbing Philosophy and Floor Plan

## Slide 13: Structure
Wood Construction
  Panelized Construction
  Stick Framed Construction
Pre-fab Metal Buildings

## Slide 14: Finishes and Aesthetics
Floors
  Durability, Ease of Repair, Application Safety, Community Preference.
  Options: Concrete, Epoxy, Rubber, Polyurea, Flexible Epoxies.
Interior Walls:
  Painted Plywood, Sheetrock, Wainscot, Fiber Reinforced Plastic (FRP)
Exterior Walls
  T1-11
  Metal Siding
  Log Siding

## Slide 15: Appliances
Laundry Equipment:
  Industrial
  Tokens, Coins, or Attendant
  Solid State Controls
Washing Machines
  Size Matters
  Discharge
  Ozonation
Dryers
  Temperature and Drying Time
  Energy Source
    Gas, Oil Fired, Electric
    Hydronic
    Waste-heat

## Slide 16: HVAC
Boiler Sizing Philosophy
  Peak Load, Full Redundancy vs.
  Critical Loads, Double Redundancy
Primary – Secondary Configuration
Controls:
  Electro Mechanical
  Solid State
B-2
HX
WH
UH
B-3
B-1

## Slide 17: HVAC
Hydronic Dryer Heating
  Multistage heating
  Make-up air
Variable Speed Pumps
Plastic Pipe vs. Copper
Renewable Energy
Condensing vs. Non-Condensing Boilers

## Slide 18: Appurtenances
  Watering Point
  Saunas
  Service Sink
  Offices/Attendant Space
  Maintenance Closet
  Drinking Fountain
  Other Sales
    Hot Water Sales
    Snacks
    Detergent

## Slide 19: Soft Sciences
Sustainability: How do we achieve it?
  Project Delivery
  or
  Community Development.
Who is responsible?
  “System design is not in common practice among engineers, not because it is too clever or too difficult, but because it does not fit the political mold. That is, full scale system application requires integration of bureaucratic responsibilities and profession disciplines. Governmental agencies with individual responsibilities for schools, sanitation, housing, communication, environment and the many of the subsystems must meet at a solution which is mutually attractive. Identification of subsystems should not and cannot be accomplished by engineers alone, but needs the participation of administrators, village people, physicians, teachers, sociologists and economists.” (Alaska Village Demonstration Project: First Generation of Integrated Utilities for Remote Communities)

## Slide 21
For More Information:
Don Antrobus, PE
Director of Design
ANTHC, DEHE
907-729-3544
dantrobus@anthc.org