## Slide 1
Construction/Design
  Octagonal design/energy conserving
  Utilize waste heat
  Handicapped ramp/showers
  Internal plumbing “stub” wall
  Separate M and W bathrooms and saunas
  Floors: concrete (sealed) or vinyl (sealed corners)
  Consider possibility of bathtub (W room/for bathing children)
  Consider apartment above
Sanitary Facilities
  Sanitizing hand wipes freely available
  Evaluate where MRSA is present in equipment to guide control/eradication
  Ozone washers
  Evaluate if you can relax heat requirements on dryers with use of ozone in washers
  Consider copper in limited application (door handles/shower heads)
  Cleaning protocols– keep checklist and make it available for public viewing
  Educational flyer area
Fire
  Sensaphone
  Avoid situations where people feel need to subvert rules/meet need or educate

## Slide 2
Economics
  Hours: 9-9, 4 days a week, 9-6, 2 days a week: attendant present
  Tokens for showers, sauna and laundry
  Programmable thermostat (adjusts when area not in use)
  Waste heat option
  Apartment above/operator duty covers landlord functions
  Concessions: detergent/bleach/?food and drink (hard to offer healthy alternatives),
    attendant sells coffee, charge for internet access
    Bleach in higher concentration?
Use/User Needs
  Use local labor in construction
  Communicate with local community prior to construction “community charette”
  Pleasant seating area
  Drinking fountain
  Sauna

## Slide 3
Arctic entry
Arctic entry
RAMP
STUB WALL
Dryers (5)
Washers (5)
M
M Sauna
W Sauna
W
S
S
Seating (storage under)
Office
Storage
Table
Table
Work bench
Storage
Plumbing access