## Slide 1: Alaska Village Washeterias in 2014 and Beyond
Bill Griffith
Alaska Department of Environmental Conservation

## Slide 3
Chart: Condition of Rural Alaska Washeterias
| Good | Fair | Poor | Very Poor
 | 0.38667 | 0.37333 | 0.23 | 0.01

## Slide 4
Chart: Percent of Rural Alaska Washeterias Offering Various Services
| Sauna | Watering Point | Showers | Dryers | Washers
 | 0.13 | 0.77333 | 0.91 | 0.96 | 0.97

## Slide 5
Chart: Water & Sewer Service Levels in Communities with Washeterias
 | 10 | 22 | 27 | 4 | 7
Total population of villages with no service or haul system service to homes: 8,934 people
(about 2,500 homes)

## Slide 6
Chart: Regional Distribution of Villages with Washeterias and Haul Service or No Service
 | 14 | 11 | 5 | 2

## Slide 7
Chart: Condition of Washeterias in Communites with No Service or Haul Service
 | 10 | 10 | 12
Funding need for washeterias
over the next ten years
20 washeterias
in fair or poor condition
X
$6 million replacement cost per facility (assume combined water treatment plant & washeteria)
=
$120 million
Serving 1,400 homes,
unit cost is around
$85,700 per home