## Slide 1: Challenges To Sewage Lagoons

## Slide 2: Operations
Access
Air Flow
Discharge
Sludge Removal

## Slide 3: Access
Access to lagoon should be limited.
  Operators need easy access to lagoon.
  Public needs limited access for dumping honey buckets.
  Fencing must be designed appropriately for soil conditions.

## Slide 4: Air Flow
Keeping brush clear to allow air flow is important to healthy lagoon and smell reduction

## Slide 5: Size of Lagoon
Lagoons can be made too large.
    They don’t ever fill up and can’t provide treatment
Lagoons can be made too small.
    These quickly reach capacity and require frequent discharge.

## Slide 6: Discharge
River
Wetland
Dry land

## Slide 7: Sludge Removal
Lack of equipment
  Dredge
  Dewatering
  Disposal

## Slide 8: Location
In town
  Smell and disease vector
Close to town
  Best for access
  Town may grow around lagoon
Far from town
  Too far to transport, leads to public dumping.
  Increased pumping and collection cost.

## Slide 9: Foreign Materials
Honey bucket liners
Trash
Broken Hoppers

## Slide 10: Collection
Lagoons are part of a system and collection will determine the success of the Lagoon.

## Slide 11: System Interruptions
Natural Disaster
  Kotlik
  Crooked Creek
System Breakdowns
  Freeze ups
  Equipment failure

## Slide 12: Honey Buckets
They are here to stay in some capacity.
We need to have a plan for when they are needed.