## Slide 1: Breakout Group A
We changed our minds

## Slide 2: Availability of data to populate our “asset inventory”
Around the table, most felt these data exist presently, many already in electronic form (though nothing is centralized)
General agreement to keep level of infrastructure asset collection at a relatively high level (aka– not bolts, more like water tanks and feet of pipe)
No specific gaps were identified, but there was interest in gathering additional info BEYOND human-built infrastructure (i.e., on water source) as it would likely impact built environment as well as information on actual amount of water produced on a daily basis (and if this is adequate for the population)

## Slide 3: Suggested resources we could use
ADEC’s Drinking water program has an electronic databases associated with its: drinking water survey, surface water system report and sanitary survey
Community masterplans (owned by the state/state-funded)
Wastewater deals with a very broad
Community operators
RMW’s
Environmental health specialists
EPA Vulnerability Assessments (2005)

## Slide 4: Initial criteria used to evaluate infrastructure included in database
Condition of system
Environmental risk to system
Community capacity/resilience profile

## Slide 5: Condition of system
Age (check IHS/EPA non-Alaskan criteria, be aware of the fact that thee may not be applicable to Alaska)
Operation/functionality
Type of material they are constructed out of (length of pipe)*

## Slide 6: Environmental risk to system
Erosion
Storm surge
Permafrost thaw/degradation
Turbidity of source water
Pathogen threat (as related to climate change)

## Slide 7: Community capacity/resilience profile
Best practices score
Adequate emergency plans
History of system function (SNCs, O&M history)

## Slide 8: What will the “database” look like?
There will be a spreadsheet-like database of collected data that corresponds to the med to high level infrastructure info collected
Each piece of collected infrastructure will have a score for:
  Condition of system
  Environmental risk to system
  Community capacity/resilience profile
However, we do not see an additional layer to this data base that involves GIS layers for things like permafrost distribution/thaw, erosion risk, etc.
These maps (along with the database) can be used for decision-making Example: NTUA (Navajo Tribal Utility Association)

## Slide 9: Response approach discussion
Some of our original scoring criteria were relegated to the “related to response” list
  These include: Other health factors, emerging pathogen threat, demographic profile

## Slide 10: Other
There was a strong push to collect data on actual water produced by treatment plant on a daily basis (in addition to info on peak/design performance)
There was a desire to track historical performance – this may be part of functionality, but these trends may also be useful in other contexts